|  | Building Responsible Officers/Property Management Roles & Responsibilities – Health & Safety |
| --- | --- |
| Property & Location: Name of Property |

This document must identify the Responsible Person(s) and/or the person delegated to undertake the duties listed below. These duties are required by legislation and/or Council policy.

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Asbestos | NAME |  | Ensure that quarterly asbestos monitoring takes place and copy sent to Corporate Asbestos Coordinator. Maintain systems for dealing with contractors including provision of information from the asbestos survey. | Asbestos Awareness training course LCC Safety Management Standard (SMS) ‘Asbestos in LCC Workplaces’ HSG227 ‘Managing Asbestos in Premises’ |
|  |  | Name(s) | Undertake quarterly asbestos monitoring and keep records Send copy of return to Corporate Asbestos Coordinator. |  |
| Water Hygiene | NAME |  | Ensure checks and inspections completed in accordance with Site Log Book and copy sent to Water Hygiene Coordinator Ensure Site Log Book maintained | On site practical training: Clearwater/IWS Water Hygiene (Mgmt) training course LCC SMS ‘Water Hygiene Management in LCC Workplaces’ Water Hygiene Guidance Appendix 1 L8 ACOP ‘The Control of Legionella Bacteria in Water Systems’ |
|  |  | Name(s) | Complete monthly temperature monitoring Send copy of temperature monitoring to Water Hygiene Coordinator Clean showerheads, taps, etc Flush underused outlets |  |

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Electricity | NAME |  | Monitor that a Fixed Installation Inspection & Test is completed for the property every 3-5 years Ensure Portable Electrical Appliance testing completed in all areas of property and records maintained Ensure all electrical defects reported to Property Services Helpdesk Ensure all electrical appliances are maintained and in good condition | Building Responsible Officer (BRO) training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘Portable Electrical Equipment – Testing and Inspection’ LCC SMS ‘Cyclical Maintenance’ IEE Wiring Regulations (BS 7671) |
|  |  | Name(s) | Ensure that a Fixed Installation Inspection & Test is completed for the property every 3-5 years and records maintained Ensure that remedial works from this inspection are completed as necessary |  |
|  |  | Name(s) | Ensure Portable Electrical Appliance testing completed in your area and records maintained Ensure Portable Electrical Appliances in your area are suitably labelled |  |
| Gas | NAME |  | Ensure regular maintenance of all gas equipment takes place and keep records Ensure annual safety checks take place on all gas equipment Ensure all gas defects reported to Property Services Helpdesk Ensure emergency procedures in place for gas leaks, etc. | Building Responsible Officer (BRO) training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L56 ACOP ‘Safety in the Installation and Use of Gas Systems and Appliances’ |
|  |  | Name(s) | Ensure all gas equipment is regularly maintained as appropriate Ensure that all gas equipment receives an annual safety check Ensure that only Gas Safe accredited contractors are used for this work Ensure that suitable records are maintained for all work |  |

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Lifts | NAME |  | Ensure regular maintenance of all lifts (incl. disabled) takes place & keep records Ensure 6 monthly statutory inspections of all lifts takes place & keep records | BRO training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L113 ACOP ‘Safe Use of Lifting Equipment’ |
|  |  | Name(s) | Ensure all lifts (incl. disabled) are regularly maintained Ensure all lifts receive a 6 mthly statutory inspection and certificates kept on file |  |
| Lifting Equipment (Fork Lift Trucks, Hoists, Slings, etc) | NAME |  | Ensure regular maintenance of all lifting equipment takes place & keep records Ensure 6/12 monthly statutory inspections of all lifting equipment takes place & keep records | BRO training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L113 ACOP ‘Safe Use of Lifting Equipment’ |
|  |  | Name(s) | Ensure all lifting equipment is regularly maintained as appropriate Ensure all lifting equipment receive a 6/12 monthly statutory inspection and certificates kept on file |  |
| Pressure Systems (Compressors, Pipelines, Pressure Vessels, Valves, etc) | NAME |  | Ensure regular maintenance of pressure systems take place & keep records Ensure statutory Thorough/Working examinations of pressure systems take place and keep records | BRO training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L122 ACOP ‘Safety of Pressure Systems’ |
|  |  | Name(s) | Ensure all pressure systems are regularly maintained Ensure all pressure systems receive a statutory Thorough/Working examination as per Written Scheme of Examination and certificates kept on file |  |

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Fire Alarms & Emergency Lighting | NAME |  | Ensure daily/weekly checks of fire alarm take place & recorded in Fire Log Book Ensure regular maintenance of fire alarm takes place & keep records Ensure regular maintenance of emergency lighting takes place & keep records Ensure Fire Log Book kept up to date | BRO training course, incl. Statutory Inspections & Maintenance module. Fire Risk Assessment training course LCC SMS ‘Fire Safety in LCC Workplaces’ LCC SMS ‘Cyclical Maintenance’ H M Government Guidance ‘Fire Safety Risk Assessment’ - various |
|  |  | Name(s) | Ensure fire alarm system is regularly maintained as appropriate Ensure emergency lighting is regularly maintained as appropriate |  |
| Fire Fighting Equipment (Fire Extinguishers, Fire Blankets, etc) | NAME |  | Ensure periodic checks of fire fighting equipment takes place & recorded in Fire Log Book Ensure regular maintenance of fire fighting equipment takes place & keep records Ensure Fire Log Book kept up to date |  |
|  |  | Name(s) | Ensure fire fighting equipment is maintained on an annual basis |  |
|  |  | Name(s) | Undertake periodic checks of fire fighting equipment |  |
| Fire Signage & Means of Escape (Fire Doors, Fire Shutters, Staircases, etc) | NAME |  | Ensure suitable & sufficient Fire Risk Assessment in place for the property Ensure all fire exit signs are in place to comply with HMG Guidance Ensure periodic checks & all necessary maintenance of fire escape routes takes place & record in Fire Log Book Ensure suitable emergency procedures in place (incl. fire marshalls, evac-chairs, PEEPs, etc) and periodically tested Ensure Fire Log Book kept up to date |  |
|  |  | Name(s) | Undertake periodic checks of fire escape routes |  |

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Ventilation (Fume Cupboards, LEV, Mechanical Ventilation, etc) | NAME |  | Ensure regular maintenance of LEV and other ventilation takes place & records kept Ensure 14 monthly statutory Thorough Examination & Test of all LEV systems takes place & keep records | BRO training course, incl. Statutory Inspections & Maintenance module. LCC SMS ‘COSHH – Hazardous Substances’ LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L5 ACOP ‘Control of Substances Hazardous to Health’ HSG37 ‘An Introduction to Local Exhaust Ventilation’ |
|  |  | Name(s) | Ensure LEV and other ventilation is regularly maintained as appropriate Ensure all LEV systems receive a 14 mthly statutory Thorough Examination & Test and certificates kept on file |  |
| Air Conditioning Systems | NAME |  | Ensure regular maintenance of all air conditioning systems takes place & records kept | LCC SMS ‘Cyclical Maintenance’ L24 ACOP ‘Workplace Health, Safety and Welfare’ |
|  |  | Name(s) | Ensure all air conditioning systems are regularly maintained & keep records |  |
| Glazing | NAME |  | Ensure an assessment of all glazing in the property completed to ensure compliance with Workplace (HSW) Regulations Ensure all defects are reported to Property Help Desk and remedial works completed | L24 ACOP ‘Workplace Health, Safety and Welfare’ Parts M & N of Building Regulations |
|  |  | Name(s) | Undertake an assessment of all glazing in the property to ensure compliance with Workplace (HSW) Regulations Ensure all defects are reported to Property Help Desk and remedial works completed |  |
| Lighting (Internal & External) | NAME |  | Ensure all lighting is suitable and sufficient for activities carried out Ensure all defects are reported to Property Help Desk and remedial works completed | L24 ACOP ‘Workplace Health, Safety and Welfare’ CIBSE Lighting Guides - various |
|  |  | Name(s) | Ensure all lighting in your area is suitable and sufficient for activities carried out Ensure all defects are reported to Property Help Desk and remedial works completed |  |

| Area of Responsibility | Responsible Person | Delegated Duty Holder | Duty/Responsibility | Training Courses & Sources of Information |
| --- | --- | --- | --- | --- |
| Maintenance of Internal Areas (Doors, Gates, Fixtures & Fittings, etc) | NAME |  | Ensure all internal areas of the property are maintained in a safe condition Ensure all defects are reported and that appropriate remedial works take place | L24 ACOP ‘Workplace Health, Safety and Welfare’ Parts A to P of Building Regulations |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |
| Maintenance of External Areas (Structure, Roof, Access Routes, Car Parks, Boundaries, etc ) | NAME |  | Ensure all external areas of the property are maintained in a safe condition Ensure all defects are reported and that appropriate remedial works take place | L24 ACOP ‘Workplace Health, Safety and Welfare’ Parts A to P of Building Regulations |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |
| Welfare Facilities (Toilets, Kitchens, etc) | NAME |  | Ensure suitable and sufficient welfare facilities are provided as appropriate to the nature of the property Ensure all welfare facilities are maintained and defects reported as necessary | L24 ACOP ‘Workplace Health, Safety and Welfare’ Part G of Building Regulations |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |
| Heating Boilers & Equipment (Gas, Oil, LPG, etc) | NAME |  | Ensure regular maintenance of all boilers or other heating equipment takes place & records kept Ensure all relevant statutory inspections take place (as detailed above) Ensure all defects are reported and that appropriate remedial works take place | LCC SMS ‘Cyclical Maintenance’ LCC SMS ‘Statutory Inspections’ L56 ACOP ‘Safety in the Installation and Use of Gas Systems and Appliances’ |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |
| Building Cleaning | NAME |  | Ensure all internal areas of the property are regularly cleaned as necessary Undertake periodic inspections of the property to ensure that it is being maintained in a clean condition | L24 ACOP ‘Workplace Health, Safety and Welfare’ |
|  |  | Name(s) | Ensure all internal areas of the property are regularly cleaned in accordance with the client’s requirements and specified schedules |  |
| Waste Disposal | NAME |  | Ensure all dustbins, waste bins, etc are emptied on a regular basis Ensure all waste is removed from the property in accordance with LCC Environmental Policy and relevant legislation (EPA, etc) | L24 ACOP ‘Workplace Health, Safety and Welfare’ LCC Environmental Policy |
|  |  | Name(s) | Ensure all dustbins, waste bins, etc are emptied on a regular basis |  |
| Lightning Conductors | NAME |  | Ensure periodic inspection of lightning conductor takes place & records kept | BS6651 ‘Code of Practice for Protection of Structures against Lightning’ |
|  |  | Name(s) | Ensure lightning conductor receives a periodic inspection and certificate kept on file |  |
| Swimming Pools | NAME |  | Ensure regular maintenance of pool plant & equipment takes place & records kept Ensure regular cleaning, chemical dosing, etc of pool & records kept | HSG179 ‘Managing Health and Safety in Swimming Pools |
|  |  | Name(s) | Ensure all pool plant & equipment is regularly maintained as appropriate |  |
|  |  | Name(s) | Ensure pool is regularly cleaned, chemically dosed, etc as appropriate |  |
| Pest Control (Birds, Rodents, Wasps, Bees, etc) | NAME |  | Ensure suitable measures taken to keep the property free from pests | MISC515 ‘Urban Rodent Control and the Safe Use of Rodenticides.’ INDG276 ‘Feral Honey Bees’ |
|  |  | Name(s) | Undertake suitable measures to keep the property free from pests |  |
| Security (Intruder Alarms & CCTV) | NAME |  | Ensure regular maintenance of intruder alarm takes place & records kept Ensure regular maintenance of CCTV system takes place & records kept | LCC CCTV Code of Practice 2008 |
|  |  | Name(s) | Ensure intruder alarm is regularly maintained as appropriate Ensure CCTV system is regularly maintained as appropriate |  |
| Incident Reporting | NAME |  | Ensure SO2 Incident Report Form is completed for all accidents, incidents, etc Ensure all RIDDOR incidents are reported to CHSU immediately Ensure all incidents are investigated as appropriate | Accident Investigation training course LCC SMS ‘Incident Reporting’ L73 ‘A guide to the Reporting of Injuries Diseases and Dangerous Occurrences Regulations’ |
|  |  | Name(s) |  |  |
| Plant & Machinery (e.g. Machinery, Powered Doors, Vehicles, Compactors, Tools & Equipment) | NAME |  | Ensure regular maintenance of all plant & machinery takes place & records kept Ensure all defects are reported and that appropriate remedial works take place | LCC SMS ‘Cyclical Maintenance’ L22 ACOP ‘Safe Use of Work Equipment’ INDG291 ‘A Simple Guide to the Provision and Use of Work Equipment Regulations’ |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |
| First Aid | NAME |  | Ensure First Aid Risk Assessment is completed for the premises Ensure appropriate number of trained First Aiders/Appointed Persons in premises | LCC SMS ‘First Aid Provision’ L74 ACOP ‘First Aid at Work. The Health & Safety (First Aid) Regulations 1981’ INDG214 ‘First Aid at Work: Your Questions Answered’ |
|  |  | Name(s) |  |  |
| ADDENDUM: There are other areas which may be applicable to the above property and these are listed below. Those that apply should be moved into the main body of the table. |
| Oxygen/Acetylene Systems (or similar) Gas Cylinders (LPG & similar) | NAME |  | Ensure periodic checks and regular maintenance of all gas equipment takes place and keep records Ensure all cylinders are stored in accordance with HSE/Industry guidance Ensure emergency procedures in place for gas leaks, etc. | HSG139 ‘The Safe Use of Compressed Gases in Welding, Flame Cutting and Allied Processes’ INDG327 ‘Take Care With Acetylene’ INDG297 ‘Safety in Gas Welding, Cutting & Similar Processes’ CS4 ‘The Keeping of LPG in Cylinders’ BCGA GN2 ‘Guidance for the Storage of Gas Cylinders in the Workplace’ |
|  |  | Name(s) | Undertake periodic checks of all gas equipment and storage |  |
| Fountains, Ponds (& other Water Features) | NAME |  | Ensure regular maintenance of fountains, ponds, etc & associated equipment takes place & records kept Ensure regular cleaning, chemical dosing, etc of fountains and other water features & records kept | LCC SMS ‘Water Hygiene Management in LCC Workplaces’ Water Hygiene (Mgmt) training course |
|  |  | Name(s) | Ensure all fountains, ponds, etc & associated equipment is regularly maintained as appropriate |  |
|  |  | Name(s) | Ensure all fountains & other water features are regularly cleaned, chemically dosed, etc as appropriate |  |
| Trees | NAME |  | Ensure periodic checks are completed of all trees (including after adverse weather) Ensure regular maintenance of all trees as necessary to prevent injury to any person or damage to property Ensure all defects are reported to Property Help Desk and remedial works completed |  |
|  |  | Name(s) | Undertake periodic checks of all trees (including after adverse weather) |  |
| Permit to Work (Hot Work, Work at Height, etc) | NAME |  | Ensure suitable Permits to Work are used on all high risk activities/operations Ensure copies of all Permits to Work are kept on the premises | LCC SMS ‘ Permit to Work’ INDG98 ‘Permit to Work Systems’ |
|  |  | Name(s) |  |  |
| Ladders (Fixed & Portable) | NAME |  | Ensure periodic inspections of all fixed & portable ladders takes place and records kept Ensure all fixed and portable ladders are maintained in good condition as necessary | Work at Height training course LCC SMS ‘Work at Height’ INDG402 ‘Safe Use of Ladders and Stepladders’ |
|  |  | Name(s) | Undertake periodic checks of all fixed and portable ladders & keep records |  |
| Hazardous Chemicals (Substances Hazardous to Health & Flammables, etc) | NAME |  | Ensure all hazardous chemicals are stored in suitable locations, including separation as appropriate Ensure all storage locations are suitably identified c/w hazard warning symbols Ensure procedures are in place for emergency situations, i.e. spillages, leaks | L5 ACOP ‘Control of Substances Hazardous to Health’ INDG227 ‘Safe Working with Flammable Substances’ COSHH Risk Assessment & COSHH Awareness training courses |
|  |  | Name(s) |  |  |
| Kilns | NAME |  | Ensure regular maintenance of all kilns takes place & records kept | CEIS3 ‘Safe Use of Electric Kilns in Craft and Education’ |
|  |  | Name(s) | Ensure all kilns are regularly maintained & keep records |  |
| Environmental Equipment (e.g. Sewage Pumps, Solar Panels, Ground Source Heat Pump) | NAME |  | Ensure regular maintenance of all environmental equipment takes place & records kept Ensure all defects are reported and that appropriate remedial works take place |  |
|  |  | Name(s) | Ensure all reported defects are actioned and contractors commissioned to undertake appropriate remedial works |  |